## Sheet1
Signal name | String ID | En Reg | En Addr | En TPConfigDW | En condition | en bit pos | reg | addr | State L1 | State L2 | State L3 | State L4 | State L5 | State L6 | State L7 | State L8 | State L9
#GROUP# MAIN DIGITAL
Operating mode | 1 | 1 | 701 |  |  |  | 4 | 21 | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling
Act Operating mode | 2 | 1 | 701 |  |  |  | 3 | 121 | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling | Auto*Off*BuildProt*Economy*Comfort*FreeCooling
Tmp control mode | 3 | 0 | 843 |  |  |  | 4 | 22 | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT | SplyT*ExtT*RoomT
Hum control mode | 4 | 1 | 850 |  |  |  | 4 | 24 | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH | SplyH*ExtH*RmH
Hum stpt selection | 5 | 1 | 850 |  |  |  | 4 | 25 | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz | Hum/Dehum*+/- 1/2Dz*Hum+Dz*Dehum-Dz
2 Extract fan mode | 6 | 4 | 811 |  | > 0 |  | 4 | 29 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
3 Extract fan mode | 7 | 4 | 812 |  | > 1 |  | 4 | 30 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
4 Extract fan mode | 8 | 4 | 813 |  | > 2 |  | 4 | 31 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
5 Extract fan mode | 9 | 4 | 814 |  | > 3 |  | 4 | 32 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
6 Extract fan mode | 10 | 4 | 815 |  | > 4 |  | 4 | 33 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
7 Extract fan mode | 11 | 4 | 816 |  | > 5 |  | 4 | 34 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
8 Extract fan mode | 12 | 4 | 817 |  | > 6 |  | 4 | 35 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
9 Extract fan mode | 13 | 4 | 818 |  | > 7 |  | 4 | 36 | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On | Auto*Off*On
Damper dly off - fire | 14 |  |  | 0 |  | 4 | 0 | 35 | NO*YES | NO*YES | NO*YES | NO*YES | NO*YES | NO*YES | NO*YES | NO*YES | NO*YES
Fire mode | 15 |  |  | 0 |  | 6 | 4 | 26 | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn | Null*SFEFOff*EFOff*SFOff*SFEFOn
#GROUP# ADVANCED DIGITAL
Scale pressure supply fan | 1
Scale pressure extract fan | 2
Modbus fan error | 3
Cascade controller | 4
Dehum tmp min stpt | 5
Disable by outs tmp | 6
El heating | 7
Air quality control | 8
Air quality mix | 9
Common alarm polarity | 10
Enable all obj. | 11
Auto configuration IOs | 12
Room unit | 13
Tmp stpt selection | 14
Humidity | 15
Dehumidification | 16
Common alarm | 17
#GROUP# ADVANCED INPUTS
Outs air dampr fdbk | 1
Exh air dampr fdbk | 2
Extract air pressure | 3
Supply air pressure | 4
Supply air pressure switch | 5
Extract air pressure switch | 6
Air flow switch | 7
Filter alarm | 8
Fresh air filter | 9
Supply filter | 10
Extract filter | 11
Exhaust filter | 12
2 Aux supply filter | 13
3 Aux supply filter | 14
2 Aux extract filter | 15
3 Aux extract filter | 16
Remote start | 17
Air quality | 18
Outdoor temperature | 19
Outside air temp | 20
Supply air temp | 21
Extract air temp | 22
Room tmp sensor | 23
Tmp before cooler | 24
Tmp after cooler | 25
B11-Temperature | 26
B12-Temperature | 27
Aux tmp sensor | 28
Humidifier | 29
Outs air hum rel | 30
Extract air hum rel | 31
Room humidity rel | 32
Cooling pump | 33
Compressor | 34
Fire damper closed | 35
External setpoint | 36
#GROUP# ADVANCED FAN
Fan control mode | 1
Room unit | 2
Duct pres stpt by rm unit | 3
Following system | 4
Fans nr | 5
Outputs fans | 6
Fan state | 7
Dampers | 8
Supply fan | 9
Extract fan | 10
2 Extract fan | 11
3 Extract fan | 12
4 Extract fan | 13
5 Extract fan | 14
6 Extract fan | 15
7 Extract fan | 16
8 Extract fan | 17
9 Extract fan | 18
Supply VAVs | 19
Fire damper closed | 20
#GROUP# ADVANCED TEMP
Tmp stpt selection | 1
Chovr type select | 2
Hrec frost protect | 3
Pre heating | 4
Free cooling | 5
Mixing damper | 6
Heat recovery | 7
Heating | 8
Cooling | 9
El heating | 10
El heater on ext | 11
2 El heating | 12
3 El heating | 13
VRF type sel | 14
VRF in sequence | 15
VRF reg by dT | 16
VRF vent mode | 17
VRF auto mode | 18
VRF 2 | 19
Siphon heater | 20
Piping heater | 21